## Bus_system
Element | Id_name | coord_x | coord_y | Bus1 | Bus2

## Voltagebases
Id_Voltagebases | Set Voltagebases
1 | (115, 4.16, 0.48, )

## AutoTrans
Id_AutoTrans | phases | windings | wdg | bus | conn | kV | KVA | tap | %R | Rdcohms | Core | buses | conns | kVs | KVAs | taps | XHX | XHT | XXT | XSCarray | thermal | n | m | flrise | hsrise | %loadloss | %noloadloss | normkVA | emergkVA | sub | MaxTap | MinTap | NumTaps | subname | %imag | pp,_amtifloat | %Rs | bank | XfmrCode | XRConst | LeadLag | WdgCurrents | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like

## Capacitor
Id_Capacitor | bus1 | bus2 | phases | kvar | kv | conn | cmatrix | cuf | R | XL | Harm | Numsteps | states | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like
cap1 | 675 |  | 3 | 600 | 4.16
cap2 | 611.3 |  | 1 | 100 | 2.4

## GICTansformer
Id_GICTansformer | BusH | BusNH | BusX | BusNX | phases | Type | R1 | R2 | KVLL1 | KVLL2 | MVA | VarCurve | %R1 | %R2 | K | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like

## Line
Id_Line | phases | bus1 | bus2 | linecode | length | r1 | x1 | r0 | x0 | C1 | C0 | rmatrix | xmatrix | cmatrix | Switch | Rg | Xg | rho | geometry | units | spacing | wires | EathModel | cncables | tscables | B1 | B0 | Seasons | Ratings | LineType | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like
650632 | 3 | rg60.1.2.3 | 632.1.2.3 | mtx601 | 2000 | [14 empty] | ft | [10 empty] | 400 | 600
632670 | 3 | 632.1.2.3 | 670.1.2.3 | mtx601 | 667 | [14 empty] | ft | [10 empty] | 400 | 600
670671 | 3 | 670.1.2.3 | 671.1.2.3 | mtx601 | 1333 | [14 empty] | ft | [10 empty] | 400 | 600
671680 | 3 | 671.1.2.3 | 680.1.2.3 | mtx601 | 1000 | [14 empty] | ft | [10 empty] | 400 | 600
632633 | 3 | 632.1.2.3 | 633.1.2.3 | mtx602 | 500 | [14 empty] | ft | [10 empty] | 400 | 600
632645 | 2 | 632.3.2 | 645.3.2 | mtx603 | 500 | [14 empty] | ft | [10 empty] | 400 | 600
645646 | 2 | 645.3.2 | 646.3.2 | mtx603 | 300 | [14 empty] | ft | [10 empty] | 400 | 600
692675 | 3 | 692.1.2.3 | 675.1.2.3 | mtx606 | 500 | [14 empty] | ft | [10 empty] | 400 | 600
671684 | 2 | 671.1.3 | 684.1.3 | mtx604 | 300 | [14 empty] | ft | [10 empty] | 400 | 600
684611 | 1 | 684.3 | 611.3 | mtx605 | 300 | [14 empty] | ft | [10 empty] | 400 | 600
684652 | 1 | 684.1 | 652.1 | mtx607 | 800 | [14 empty] | ft | [10 empty] | 400 | 600
671692 | 3 | 671 | 692 |  |  | 0.001 | 0 | 0.001 | 0 | 0 | 0 |  |  |  | True

## Reactor
Id_Reactor | bus1 | bus2 | phases | kvar | kv | conn | Rmatrix | Xmatrix | Parallel | R | X | Rp | Z1 | Z2 | Z0 | Z | Rcurve | LCurve | LmH | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like

## Transformer
Id_Transformer | Phases | Windings | Wdg | Bus | Conn | Kv | Kva | Tap | %R | rneut | xneut | Buses | Conns | KVs | KVAs | Taps | %Rs | XHL (or X12) | XLT (or X23) | XHT (or X13) | XscArray | Thermal | n | m | flrise | hsrise | %Loadloss | %Noloadloss | %imag | Ppm_Antifloat | NormHKVA | EmergHKVA | Sub | MaxTap | MinTap | NumTaps | SubName | Bank | XfmrCode | XRConst | LeadLag | Seasons | Ratings | Inherited Properties | Faultrate | Basefreq | Like
sub | 3 | 2 | 1 | [5 empty] | [0.005, 0.005] |  |  | [sourcebus, 650 ] | [delta, wye ] | [115, 4.16] | [5000, 5000] | [1, 1] |  | 0.008
reg1 | 1 | [10 empty] | [650.1, rg60.1, ] |  | [2.4, 2.4, ] | [1666, 1666, ] |  |  | 0.01 | [8 empty] | 0.01 | [10 empty] | reg1
reg2 | 1 | [10 empty] | [650.2, rg60.2, ] |  | [2.4, 2.4, ] | [1666, 1666, ] |  |  | 0.01 | [8 empty] | 0.01 | [10 empty] | reg1
reg3 | 1 | [10 empty] | [650.3, rg60.3 ] |  | [2.4, 2.4, ] | [1666, 1666, ] |  |  | 0.01 | [8 empty] | 0.01 | [10 empty] | reg1
xfm1 | 3 | 2 | [6 empty] | [0.55, 0.55] |  |  | [633, 634, ] | [wye, wye, ] | [4.16, 0.48, ] | [500, 500, ] | [1, 1, ] |  | 2 | 1 | 1

## Generator
Id_Generator | phases | bus1 | kv | kW | pf | kvar | model | Vminpu | Vmaxpu | yearly | daily | duty | dispmode | dispvalue | conn | Rneut | Xneut | status | class | Vpu | maxkvar | minkvar | pvfactor | forceon | KVA | MVA | Xd | Xdp | Xdpp | H | D | UserModel | UserData | ShaftModel | ShaftData | DutyStart | debugtrace | Balanced | XRdp | UseFuel | FuelWh | %Fuel | %Reserve | Refuel | spectrum | Basefreq | enabled | like

## Generic5
Id_Generic5 | phases | bus1 | kv | kW | pf | conn | kVA | H | D | P_ref1kW | P_ref2kW | P_ref3kW | P_ref1kVLN | P_ref2VLN | P_ref3VLN | MaxSlip | SlipOption | Yearly | Daily | Duty | Debugtrace | P_refkW | Q_refkVAr | Cluster_num | V_refkVLN | ctrl_mode | QV_flag | kcd | kcq | kqi | Q_ref1kW | Q_ref2kW | Q_ref3kW | PmaxkW | PminkW | PQpriority | PmppkW | Pfctr1 | Pfctr2 | Pfctr3 | Pfctr4 | Pfctr5 | Pfctr6 | PbiaskW | CC_Switch | kcp_drp2 | Volt_trhd | droop | spectrum | basefreq | enable | like

## GICLine
Id_GICLine | bus1 | bus2 | Volts | Angle | frecuency | phases | R | X | C | EN | EE | Lat1 | Lon1 | Lat2 | Lon2 | spectrum | basefreq | enabled | like

## IndMach012
Id_IndMach012 | phases | bus1 | kv | kW | pf | conn | KVA | H | D | puRs | puXs | puRr | puXr | puXm | Slip | MaxSlip | SlipOption | Yearly | Daily | Duty | Debugtrace | spectrum | basefreq | enabled | like

## Load
Id_Load | phases | bus1 | kV | Kw | pf | model | yearly | daily | duty | growth | conn | kvar | Rneut | Xneut | status | class | Vminpu | Vmaxpu | Vminnorm | Vminemerg | xfkVA | %mean | %stddev | CVRwatts | CVRvars | kwh | kwhdays | kwh | kwhdays | Cfactor | CVRcurve | NumCust | ZIPV | %SeriesRL | RelWeigth | Vlowpu | puXharm | Xrharm | spectrum | basefreq | enabled | like
671 | 3 | 671.1.2.3 | 4.16 | 1155 |  | 1 |  |  |  |  | Delta | 660
634a | 1 | 634.1 | 0.277 | 160 |  | 1 |  |  |  |  | Wye | 110
634b | 1 | 634.2 | 0.277 | 120 |  | 1 |  |  |  |  | Wye | 90
634c | 1 | 634.3 | 0.277 | 120 |  | 1 |  |  |  |  | Wye | 90
645 | 1 | 645.2 | 2.4 | 170 |  | 1 |  |  |  |  | Wye | 125
646 | 1 | 646.2.3 | 4.16 | 230 |  | 2 |  |  |  |  | Delta | 132
692 | 1 | 692.3.1 | 4.16 | 170 |  | 5 |  |  |  |  | Delta | 151
675a | 1 | 675.1 | 2.4 | 485 |  | 1 |  |  |  |  | Wye | 190
675b | 1 | 675.2 | 2.4 | 68 |  | 1 |  |  |  |  | Wye | 60
675c | 1 | 675.3 | 2.4 | 290 |  | 1 |  |  |  |  | Wye | 212
611 | 1 | 611.3 | 2.4 | 170 |  | 5 |  |  |  |  | Wye | 80
652 | 1 | 652.1 | 2.4 | 128 |  | 2 |  |  |  |  | Wye | 86
670a | 1 | 670.1 | 2.4 | 17 |  | 1 |  |  |  |  | Wye | 10
670b | 1 | 670.2 | 2.4 | 66 |  | 1 |  |  |  |  | Wye | 38
670c | 1 | 670.3 | 2.4 | 117 |  | 1 |  |  |  |  | Wye | 68

## PVSystem
Id_PVSystem | phases | bus1 | kv | irradiance | Pmpp | %Pmpp | Temperature | pf | conn | kvar | KVA | %Cutin | %Cutout | EffCurve | P-TCurve | %R | %X | model | Vminpu | Vmaxpu | Balanced | LimitCurrent | yearly | daily | duty | Tyearly | Tdaily | Tduty | class | UserModel | UserData | debugtrace | VarFollowInverted | DutyStart | WattPriority | PFPriority | %PminNoVars | %PminkvarMax | kvarMax | kvarMaxAbs | spectrum | basefreq | enabled | like

## UPFC
Id_UPFC | bus1 | bus2 | refkv | pf | frecuency | phases | Xs | Tol1 | Mode | VpqMax | LossCurve | VHLimit | VLLimit | Climit | refkv2 | kvarLimit | spectrum | basefreq | enabled | like

## VCCS
Id_VCCS | bus1 | phases | prated | vrated | ppct | bp1 | bp2 | filter | fsample | rmsmode | imaxpu | vrmstau | irmstau | spectrum | basefreq | enabled | like

## Storage
Id_Storage | phases | bus1 | kv | conn | kW | kvar | pf | kVA | %Cutin | %Cutout | EffCurve | VarFollowInverter | kvarMax | kvarMaxAbs | WattPriority | PFPriority | %PminNoVars | %PminkvarMax | KWrated | %kWrated | kWhrated | kWhstrored | %stored | %reserve | State | %Discharge | %Charge | %EffCharge | %EffDischarge | %IdlingkW | %Idlingkvar | %R | %X | model | Vminpu | Vmaxpu | Balanced | LimitCurrent | yearly | daily | duty | DispMode | DischargeTrigger | TimeChargeTrig | class | DynaDLL | DynaData | DynaData | UserModel | UserData | debugtrace | spectrum | basefreq | enabled | like

## VSConverter
Id_VSConverter | phases | Bus1 | kVac | kVdc | kW | Ndc | Rac | Xac | m0 | d0 | Mmin | Mmax | Iacmax | Idcmax | Vacref | Pacref | Qacref | Vdcref | VscMode | spectrum | basefreq | enabled | like

## WindGen
Id_WindGen | phases | bus1 | kv | kW | PF | model | yearly | daily | duty | conn | kvar | status | class | Vpu | maxkvar | minkvar | pvfactor | debugtrace | Vminpu | Vmaxpu | forceon | kVA | MVA | Xd | Xdp | Xdpp | H | D | UserModel | UserData | ShaftModel | ShaftModel | DutyStart | Balanced | XRdp | spectrum | basefreq | enabled | like

## CapControl
Id_CapControl | element | terminal | capacitor | type | PTratio | CTratio | Onsetting | OFFsentting | Delay | VoltOverride | Vmax | Vmin | DelayOFF | DeadTime | CTPhase | PTPhase | Vbus | Eventlog | UserModel | UserData | pctMinkvar | Reset | basefreq | enabled | like

## ESPVLControl
Id_ESPVLControl | Element | Terminal | Type | kWBand | kvarlimit | LocalControlList | LocalControlWeight | PVSystemList | PVSystemWeight | StorageList | StorageWeight | Forecast | basefreq | enabled | like

## ExpControl
Id_ExpControl | PVSystemList | Vreg | Slope | VregTau | Qbias | VregMin | VregMax | QmaxLead | QmaxLag | EventLog | DeltaQ_factor | PreferQ | Tresponse | basefreq | enabled | like

## Fuse
Id_Fuse | MonitoredObj | MonitoredTerm | SwitchedObj | SwitchedTerm | FaseCurve | RatedCurrent | Delay | Action | Normal | State | basefreq | enabled | like

## GenDispatcher
Id_GenDispatcher | Element | Terminal | kWLimit | kWBand | kvarLimit | GenList | basefreq | enabled | like

## InvControl
Id_InvControl | DERList | Mode | CombiMode | vvc_curve1 | hysteresis_offset | voltage_curve_ref | avgwindowlen | volt_watt_curve | DbVMin | DbVMax | ArGraLowV | ArGraHiV | DynReacavgwindowlen | deltaQ_Factor | VoltageChangeTolerance | VarChangeTolerance | VoltwattYAxis | RateofChangeMode | LPFTau | RiseFallLimit | deltaP_Factor | EventLog | RefReactivePower | ActivePChangeTolerance | monVoltageCalc | monBus | MonBusesVbase | voltwattCH_curve | wattpf_curve | wattvar_curve | VV_RefReactivePower | PVSystemList | Vsetpoint | basefreq | enabled | like

## Recloser
Id_Recloser | MonitoredObj | MonitoredTerm | SwitchedObj | SwitchedTerm | NumFast | PhaseFast | PhaseDelayed | GroundFast | GroundDelayed | PhaseTrip | GroundTrip | PhaseInst | GroundInst | Reset | Shots | RecloseIntervals | Delay | Action | TDPhFast | TDGrFast | TDPhDelayed | TDGrDelayed | Normal | State | basefreq | enabled | like

## RegControl
Id_RegControl | transformer | winding | vreg | band | ptratio | Ctprim | R | X | bus | delay | reversible | revvreg | revband | revR | revX | tapdelay | debugtrace | maxtapchange | inversetime | tapwinding | vlimit | Ptphase | revThreshold | revDelay | revNeutral | EventLog | RemotePTRatio | TapNum | Reset | LDC_Z | rev_Z | Cogen | basefreq | enabled | like
reg1 | Reg1 | 2 | 122 | 2 | 20 | 700 | 3 | 9 | [11 empty] | 2
reg2 | Reg2 | 2 | 122 | 2 | 20 | 700 | 3 | 9 | [11 empty] | 2
reg3 | Reg3 | 2 | 122 | 2 | 20 | 700 | 3 | 9 | [11 empty] | 2

## Relay
Id_Relay | MonitoredObj | MonitoredTerm | SwitchedObj | SwitchedTerm | type | Phasecurve | Groundcurve | PhaseTrip | GroundTrip | TDPhase | TDGround | PhaseInst | GroundInst | Reset | Shots | RecloseIntervals | Delay | Overvoltcurve | Undervoltcurve | kvbase | 47%Pickup | 46BaseAmps | 46%Pickup | 46isqt | Variable | overtrip | undertrip | Breakertime | action | Z1mag | Z1ang | Z0mag | Z0ang | Mphase | Mground | EventLog | DebugTrace | DistReverse | Normal | State | basefreq | enabled | like

## StorageController
Id_StorageController | Element | Terminal | MonPhase | kWTarget | kWTargetLow | %kWBand | kWBand | %kWBandLow | kWBandLow | ElementList | Weights | ModeDischarge | ModeCharge | TimeDischargeTrigger | TimeChargeTrigger | %RatekW | %RateCharge | %Reserve | kWhTotal | kWTotal | kWhActual | kWActual | kWneed | Yearly | Daily | Duty | EventLog | InhibitTime | Tup | TFlat | Tdn | kWThreshold | DispFactor | ResetLevel | Seasons | SeasonTargets | SeasonTargetsLow | basefreq | enabled | like

## SwtControl
Id_SwtControl | SwitchedObj | SwitchedTerm | Action | Lock | Delay | Normal | State | Reset | basefreq | enabled | like

## UPFCControl
Id_UPFCControl | Element | Terminal | kWLimit | kWBand | kvarlimit | GenList | basefreq | enabled | like

## CNData
Id_CNData | k | DiaStrand | GmrStrand | Rstrand | EpsR | InsLayer | DiaIns | DiaCable | Rdc | Rac | Runits | GMRac | GMRunits | radius | radunits | normamps | emergamps | diam | Seasons | Ratings | Capradius | like

## GrowthShape
Id_GrowthShape | npts | year | mult | csvfile | sngfile | dblfile | like
default | 2 | (1, 20, ) | (1.025, 1.025, )

## LineCode
Id_LineCode | nphases | r1 | x1 | r0 | x0 | C1 | C0 | units | rmatrix | xmatrix | cmatrix | baseFreq | normamps | emergamps | faultrate | pctperm | repair | Kron | Rg | Xg | rho | neutral | B1 | B0 | Seasons | Ratings | LineType | like
1 | 3 | [7 empty] | [ 0.08666667 0.02954546 0.02907197 ¦ 0.02954546 0.08837121 0.02992424 ¦ 0.02907197 0.02992424 0.08740530 ] | [ 0.20416667 0.09501894 0.07289773 ¦ 0.09501894 0.19852273 0.08022727 ¦ 0.07289773 0.08022727 0.20172349 ] | [ 2.85171007 -0.92029379 -0.35075557 ¦ -0.92029379 3.00463186 -0.58501125 ¦ -0.35075557 -0.58501125 2.71134756 ] | 60
2 | 3 | [7 empty] | [ 0.08837121 0.02992424 0.02954546 ¦ 0.02992424 0.08740530 0.02907197 ¦ 0.02954546 0.02907197 0.08666667 ] | [ 0.19852273 0.08022727 0.09501894 ¦ 0.08022727 0.20172349 0.07289773 ¦ 0.09501894 0.07289773 0.20416667 ] | [ 3.00463186 -0.58501125 -0.92029379 ¦ -0.58501125 2.71134756 -0.35075557 ¦ -0.92029379 -0.35075557 2.85171007 ] | 60
3 | 3 | [7 empty] | [ 0.08740530 0.02907197 0.02992424 ¦ 0.02907197 0.08666667 0.02954546 ¦ 0.02992424 0.02954546 0.08837121 ] | [ 0.20172349 0.07289773 0.08022727 ¦ 0.07289773 0.20416667 0.09501894 ¦ 0.08022727 0.09501894 0.19852273 ] | [ 2.71134756 -0.35075557 -0.58501125 ¦ -0.35075557 2.85171007 -0.92029379 ¦ -0.58501125 -0.92029379 3.00463186 ] | 60
4 | 3 | [7 empty] | [ 0.08740530 0.02992424 0.02907197 ¦ 0.02992424 0.08837121 0.02954546 ¦ 0.02907197 0.02954546 0.08666667 ] | [ 0.20172349 0.08022727 0.07289773 ¦ 0.08022727 0.19852273 0.09501894 ¦ 0.07289773 0.09501894 0.20416667 ] | [ 2.71134756 0.58501125 -0.35075557 ¦ 0.58501125 3.00463186 -0.92029379 ¦ -0.35075557 -0.92029379 2.85171007 ] | 60
5 | 3 | [7 empty] | [ 0.08837121 0.02954546 0.02992424 ¦ 0.02954546 0.08666667 0.02907197 ¦ 0.02992424 0.02907197 0.08740530 ] | [ 0.19852273 0.09501894 0.08022727 ¦ 0.09501894 0.20416667 0.07289773 ¦ 0.08022727 0.07289773 0.20172349 ] | [ 3.00463186 -0.92029379 -0.58501125 ¦ -0.92029379 2.85171007 -0.35075557 ¦ -0.58501125 -0.35075557 2.71134756 ] | 60
6 | 3 | [7 empty] | [ 0.08666667 0.02907197 0.02954546 ¦ 0.02907197 0.08740530 0.02992424 ¦ 0.02954546 0.02992424 0.08837121 ] | [ 0.20416667 0.07289773 0.09501894 ¦ 0.07289773 0.20172349 0.08022727 ¦ 0.09501894 0.08022727 0.19852273 ] | [ 2.85171007 -0.35075557 -0.92029379 ¦ -0.35075557 2.71134756 -0.58501125 ¦ -0.92029379 -0.58501125 3.00463186 ] | 60
7 | 2 | [7 empty] | [ 0.08666667 0.02907197 ¦ 0.02907197 0.08740530 ] | [ 0.20416667 0.07289773 ¦ 0.07289773 0.20172349 ] | [ 2.56982960 -0.52995137 ¦ -0.52995137 2.59746001 ] | 60
8 | 2 | [7 empty] | [ 0.08666667 0.02907197 ¦ 0.02907197 0.08740530 ] | [ 0.20416667 0.07289773 ¦ 0.07289773 0.20172349 ] | [ 2.56982960 -0.52995137 ¦ -0.52995137 2.59746001 ] | 60
9 | 1 | [7 empty] | [ 0.25174242 ] | [ 0.25520833 ] | [ 2.27036613 ] | 60
10 | 1 | [7 empty] | [ 0.25174242 ] | [ 0.25520833 ] | [ 2.27036613 ] | 60
11 | 1 | [7 empty] | [ 0.25174242 ] | [ 0.25520833 ] | [ 2.27036613 ] | 60
12 | 3 | [7 empty] | [ 0.28804924 0.09844697 0.09325758 ¦ 0.09844697 0.29032197 0.09844697 ¦ 0.09325758 0.09844697 0.28804924 ] | [ 0.14244318 0.05255682 0.04085227 ¦ 0.05255682 0.13564394 0.05255682 ¦ 0.04085227 0.05255682 0.14244318 ] | [ 33.77150149 0.00000000 0.00000000 ¦ 0.00000000 33.77150149 0.00000000 ¦ 0.00000000 0.00000000 33.77150149 ] | 60
300 | 3 | [7 empty] | [ 0.25318182 0.03979167 0.04034091 ¦ 0.03979167 0.25071970 0.03912879 ¦ 0.04034091 0.03912879 0.25178030 ] | [ 0.25270833 0.10945076 0.09498106 ¦ 0.10945076 0.25698864 0.08695076 ¦ 0.09498106 0.08695076 0.25513258 ] | [ 2.68015031 -0.76928101 -0.49950768 ¦ -0.76928101 2.56103810 -0.31207298 ¦ -0.49950768 -0.31207298 2.45559039 ] | 60
301 | 3 | [7 empty] | [ 0.36553030 0.04407197 0.04467803 ¦ 0.04407197 0.36282197 0.04333333 ¦ 0.04467803 0.04333333 0.36399621 ] | [ 0.26732955 0.12200758 0.10778409 ¦ 0.12200758 0.27047349 0.09920455 ¦ 0.10778409 0.09920455 0.26910985 ] | [ 2.57249216 -0.72160598 -0.47232940 ¦ -0.72160598 2.46438188 -0.29896110 ¦ -0.47232940 -0.29896110 2.36888112 ] | 60
302 | 1 | [7 empty] | [ 0.53020800 ] | [ 0.28134500 ] | [ 2.12257000 ] | 60
303 | 1 | [7 empty] | [ 0.53020800 ] | [ 0.28134500 ] | [ 2.12257000 ] | 60
304 | 1 | [7 empty] | [ 0.36395800 ] | [ 0.26916700 ] | [ 2.12257000 ] | 60
400 | 3 | [7 empty] | [ 0.08820500 0.03121370 0.03062640 ¦ 0.03121370 0.09019460 0.03161430 ¦ 0.03062640 0.03161430 0.08896650 ] | [ 0.20744000 0.09353140 0.07603120 ¦ 0.09353140 0.20078300 0.08558790 ¦ 0.07603120 0.08558790 0.20487700 ] | [ 2.90301000 -0.67933500 -0.22313000 ¦ -0.67933500 3.15896000 -0.48141600 ¦ -0.22313000 -0.48141600 2.89650000 ] | 60
601 | 3 | [7 empty] | [ 0.06562500 0.02954546 0.02992424 ¦ 0.02954546 0.06392046 0.02907197 ¦ 0.02992424 0.02907197 0.06465909 ] | [ 0.19278409 0.09501894 0.08022727 ¦ 0.09501894 0.19844697 0.07289773 ¦ 0.08022727 0.07289773 0.19598485 ] | [ 3.16483804 -1.00263243 -0.63273652 ¦ -1.00263243 2.99398159 -0.37260871 ¦ -0.63273652 -0.37260871 2.83267020 ] | 60
602 | 3 | [7 empty] | [ 0.14253788 0.02992424 0.02954546 ¦ 0.02992424 0.14157197 0.02907197 ¦ 0.02954546 0.02907197 0.14083333 ] | [ 0.22375000 0.08022727 0.09501894 ¦ 0.08022727 0.22695076 0.07289773 ¦ 0.09501894 0.07289773 0.22939394 ] | [ 2.86301342 -0.54341492 -0.84925850 ¦ -0.54341492 2.60203159 -0.33096214 ¦ -0.84925850 -0.33096214 2.72516277 ] | 60
603 | 2 | [7 empty] | [ 0.25178030 0.03912879 ¦ 0.03912879 0.25071970 ] | [ 0.25513258 0.08695076 ¦ 0.08695076 0.25698864 ] | [ 2.36601760 -0.45208384 ¦ -0.45208384 2.34396351 ] | 60
604 | 2 | [7 empty] | [ 0.25071970 0.03912879 ¦ 0.03912879 0.25178030 ] | [ 0.25698864 0.08695076 ¦ 0.08695076 0.25513258 ] | [ 2.34396351 -0.45208384 ¦ -0.45208384 2.36601760 ] | 60
605 | 1 | [7 empty] | [ 0.25174242 ] | [ 0.25520833 ] | [ 2.27036613 ] | 60
606 | 3 | [7 empty] | [ 0.15117424 0.06045455 0.05395833 ¦ 0.06045455 0.14945076 0.06045455 ¦ 0.05395833 0.06045455 0.15117424 ] | [ 0.08452652 0.00621212 -0.00270833 ¦ 0.00621212 0.07653409 0.00621212 ¦ -0.00270833 0.00621212 0.08452652 ] | [ 48.67459408 0.00000000 0.00000000 ¦ 0.00000000 48.67459408 0.00000000 ¦ 0.00000000 0.00000000 48.67459408 ] | 60
607 | 1 | [7 empty] | [ 0.25426136 ] | [ 0.09704546 ] | [ 44.70661522 ] | 60
721 | 3 | [7 empty] | [ 0.05541667 0.01274621 0.00638258 ¦ 0.01274621 0.05011364 0.01274621 ¦ 0.00638258 0.01274621 0.05541667 ] | [ 0.03736742 -0.00696970 -0.00789773 ¦ -0.00696970 0.03598485 -0.00696970 ¦ -0.00789773 -0.00696970 0.03736742 ] | [ 80.27484728 0.00000000 0.00000000 ¦ 0.00000000 80.27484728 0.00000000 ¦ 0.00000000 0.00000000 80.27484728 ] | 60
722 | 3 | [7 empty] | [ 0.08998106 0.03085227 0.02337121 ¦ 0.03085227 0.08500000 0.03085227 ¦ 0.02337121 0.03085227 0.08998106 ] | [ 0.05630682 -0.00617424 -0.01149621 ¦ -0.00617424 0.05071970 -0.00617424 ¦ -0.01149621 -0.00617424 0.05630682 ] | [ 64.21841090 0.00000000 0.00000000 ¦ 0.00000000 64.21841090 0.00000000 ¦ 0.00000000 0.00000000 64.21841090 ] | 60
723 | 3 | [7 empty] | [ 0.24500000 0.09225379 0.08683712 ¦ 0.09225379 0.24662879 0.09225379 ¦ 0.08683712 0.09225379 0.24500000 ] | [ 0.12714015 0.03998106 0.02880682 ¦ 0.03998106 0.11981061 0.03998106 ¦ 0.02880682 0.03998106 0.12714015 ] | [ 37.59771120 0.00000000 0.00000000 ¦ 0.00000000 37.59771120 0.00000000 ¦ 0.00000000 0.00000000 37.59771120 ] | 60
724 | 3 | [7 empty] | [ 0.39681818 0.09856061 0.09329546 ¦ 0.09856061 0.39901515 0.09856061 ¦ 0.09329546 0.09856061 0.39681818 ] | [ 0.14693182 0.05185606 0.04020833 ¦ 0.05185606 0.14011364 0.05185606 ¦ 0.04020833 0.05185606 0.14693182 ] | [ 30.26701029 0.00000000 0.00000000 ¦ 0.00000000 30.26701029 0.00000000 ¦ 0.00000000 0.00000000 30.26701029 ] | 60
mtx601 | 3 | [6 empty] | mi | [ 0.34650000 0.15600000 0.15800000 ¦ 0.15600000 0.33750000 0.15350000 ¦ 0.15800000 0.15350000 0.34140000 ] | [ 1.01790000 0.50170000 0.42360000 ¦ 0.50170000 1.04780000 0.38490000 ¦ 0.42360000 0.38490000 1.03480000 ] |  | 60
mtx602 | 3 | [6 empty] | mi | [ 0.75260000 0.15800000 0.15600000 ¦ 0.15800000 0.74750000 0.15350000 ¦ 0.15600000 0.15350000 0.74360000 ] | [ 1.18140000 0.42360000 0.50170000 ¦ 0.42360000 1.19830000 0.38490000 ¦ 0.50170000 0.38490000 1.21120000 ] |  | 60
mtx603 | 2 | [6 empty] | mi | [ 1.32380000 0.20660000 ¦ 0.20660000 1.32940000 ] | [ 1.35690000 0.45910000 ¦ 0.45910000 1.34710000 ] |  | 60
mtx604 | 2 | [6 empty] | mi | [ 1.32380000 0.20660000 ¦ 0.20660000 1.32940000 ] | [ 1.35690000 0.45910000 ¦ 0.45910000 1.34710000 ] |  | 60
mtx605 | 1 | [6 empty] | mi | [ 1.32920000 ] | [ 1.34750000 ] |  | 60
mtx606 | 3 | [6 empty] | mi | [ 0.79172100 0.31847600 0.28345000 ¦ 0.31847600 0.78164900 0.31847600 ¦ 0.28345000 0.31847600 0.79172100 ] | [ 0.43835200 0.02768380 -0.01842040 ¦ 0.02768380 0.39669700 0.02768380 ¦ -0.01842040 0.02768380 0.43835200 ] | [383.94800000 0.00000000 0.00000000 ¦ 0.00000000 383.94800000 0.00000000 ¦ 0.00000000 0.00000000 383.94800000 ]
mtx607 | 1 | [6 empty] | mi | [ 1.34250000 ] | [ 0.51240000 ] | [236.00000000 ] | 60

## LineGeometry
Id_LineGeometry | nconds | nphases | cond | wire | x | h | units | normamps | emergamps | reduce | spacing | wires | cncable | tscable | cncables | tscables | Seasons | Ratings | LineTyp | like

## LineSpacing
Id_LineSpacing | nconds | nphases | x | h | units | like

## LoadShape
Id_LoadShape | npts | interval | mult | hour | mean | stddev | csvfile | sngfile | dblfile | action | qmult | UseActual | Pmax | Qmax | sinterval | minterval | Pbase | Qbase | Pmult | PQCSVFile | MemoryMapping | like
default | 24 | 1 | [ 0.677 0.6256 0.6087 0.5833 0.58028 0.6025 0.657 0.7477 0.832 0.88 0.94 0.989 0.985 0.98 0.9898 0.999 1 0.958 0.936 0.913 0.876 0.876 0.828 0.756]

## PriceShape
Id_PriceShape | npts | interval | price | hour | mean | stddev | csvfile | sngfile | dblfile | sinterval | minterval | action | like

## Spectrum
Id_Spectrum | NumHarm | harmonic | %mag | angle | CSVFile | like
default | 7 | (1, 3, 5, 7, 9, 11, 13, ) | (100, 33, 20, 14, 11, 9, 7, ) | (0, 0, 0, 0, 0, 0, 0, )
defaultload | 7 | (1, 3, 5, 7, 9, 11, 13, ) | (100, 1.5, 20, 14, 1, 9, 7, ) | (0, 180, 180, 180, 180, 180, 180, )
defaultgen | 1 | (1, 3, 5, 7, 9, 11, 13, ) | (100, 5, 3, 1.5, 1, 0.7, 0.5, ) | (0, 0, 0, 0, 0, 0, 0, )
defaultvsource | 1 | -1 | -100 | 0
linear | 1 | -1 | -100 | 0
pwm6 | 13 | (1, 3, 5, 7, 9, 11, 13, 15, 17, 19, 21, 23, 25, ) | (100, 4.4, 76.5, 62.7, 2.9, 24.8, 12.7, 0.5, 7.1, 8.4, 0.9, 4.4, 3.3, ) | (-103, -5, 28, -180, -33, -59, 79, 36, -253, -124, 3, -30, 86, )
| 10 | (1, 3, 5, 7, 9, 11, 13, 15, 17, 19, ) | (100, 1.2, 33.6, 1.6, 0.4, 8.7, 1.2, 0.3, 4.5, 1.3, ) | (-75, 28, 156, 29, -91, 49, 54, 148, -57, -46, )

## TCC_Curve
Id_TCC_Curve | npts | C_array | T_array | like
a | 5 | [ 1 2.5 4.5 8 14] | [ 0.15 0.07 0.05 0.045 0.045]
d | 5 | [ 1 2.5 4.5 8 14] | [ 6 0.7 0.2 0.06 0.02]
tlink | 7 | [ 2 2.1 3 4 6 22 50] | [ 300 100 10.1 4 1.4 0.1 0.02]
klink | 6 | [ 2 2.2 3 4 6 30] | [ 300 20 4 1.3 0.41 0.02]

## TSData
Id_TSData | DiaShield | TapeLayer | TapeLap | EpsR | InsLayer | DiaIns | DiaCable | Rdc | Rac | Runits | GMRac | GMRunits | radius | radunits | normamps | emergamps | diam | Seasons | Ratings | Capradius | like

## TShape
Id_Tshape | npts | interval | temp | hour | mean | stddev | csvfile | sngfile | dblfile | sinterval | minterval | action | like

## WireData
Id_Tshape | Rdc | Rac | Runits | GMRac | GMRunits | radius | radunits | normamps | emergamps | diam | Seasons | Ratings | Capradius | like

## XfmrCode
Id_XfmrCode | phases | windings | wdg | conn | kV | kVA | tap | %R | Rneut | Xneut | conns | kVs | kVAs | taps | Xhl | Xht | Xlt | Xscarray | thermal | n | m | flrise | hsrise | %loadloss | %noloadloss | normhkVA | emerghkVA | MaxTap | MinTap | NumTaps | %imag | ppm_antifloat | %Rs | X12 | X13 | X23 | RdcOhms | Seasons | Ratings | like

## XYcurve
Id_XYcurve | npts | Points | Yarray | Xarray | csvfile | sngfile | dblfile | x | y | Xshift | Yshift | Xscale | Yscale | like

## EnergyMeter
Id_EnergyMeter | element | terminal | action | option | kVAnormal | kVAemerg | peakcurrent | Zonelist | LocalOnly | Mask | Losses | LineLosses | XfmrLosses | SeqLosses | 3phaseLosses | VbaseLosses | PhaseVoltageReport | Int_Rate | Int_Duration | SAIFI | SAIFIkW | SAIDI | CAIDI | CustInterrupts | basefreq | enabled | like

## FMonitor
Id_FMonitor | element | terminal | mode | action | residual | VIPolar | PPolar | P_trans_ref | V_Sensor | P_Sensor | Node_num | Cluster_num | Total_Clusters | Nodes | CommVector | ElemTableLine | P_Mode | CommDelayVector | T_intvl_smpl | MaxLocalMem | Volt_limits_pu | b_Curt_Ctrl | up_dly | virtual_ld_node | EGen | attack_defense | Comm_hide | Comm_node_hide | basefreq | enabled | like

## Monitor
Id_Monitor | element | terminal | mode | action | residual | VIPolar | PPolar | basefreq | enabled | like

## Sensor
Id_Sensor | element | terminal | kvbase | clear | kVs | currents | kWs | kvars | conn | Deltadirection | %Error | Weight | action | basefreq | enabled | like

## Fault
Id_Fault | bus1 | bus2 | phases | r | %stddev | Gmatrix | ONtime | temporary | MinAmps | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like

## GICsource
Id_GICsource | Volts | angle | frequency | phases | EN | EE | Lat1 | Lon1 | Lat2 | Lon2 | spectrum | basefreq | enabled | like

## Isouce
Id_Isource | bus1 | amps | angle | frequency | phases | scantype | sequence | Yearly | Daily | Duty | Bus2 | spectrum | basefreq | enabled | like

## Vsource
Id_Vsource | bus1 | basekv | pu | angle | frequency | phases | MVAsc3 | MVAsc1 | x1r1 | x0r0 | Isc3 | Isc1 | R1 | X1 | R0 | X0 | ScanType | Sequence | bus2 | Z1 | Z0 | Z2 | puZ1 | puZ0 | puZ2 | baseMVA | Yearly | Daily | Duty | Model | puZideal | spectrum | basefreq | enabled | like
source | sourceBus | 115 | 1.001 | 30 |  | 3 | 20000 | 21000